| HEATER SPECIFICATION SHEET |
| --- |
| 1. Electrical Ratings: |  |
| Line Voltage | Phase |
| KW | Control Voltage |
| Unit Size (A - Z) |
| 2. Area Classification Code (check one): |
| 29 = Class 1, Group B, C & D |
| Class II, Groups E, F & G |
| 30 = Class I, Groups C & D |
| Class II, Groups E, F & G |
| 3. Airflow Direction (check one): |
| Right (U4) | Left (U6) |
| 4. Airflow Through Heater: |
| Minimum CFM | Actual CFM |
| Minimum FPM |  |
| 5. Maximum Inlet Air Temperature (80( F Standard): |
| (F |  |
| 6. Temperature Control (check one): |
| ON/OFF Control |  |
| Room Sensing |  |
| Duct Sensing |  |
| Customer Furnished |  |
| SCR Control |  |
| Specify Input Signal |  |
| Standard 2200 ohm |  |
| (from INDEECO thermostat) |
| (from customer’s thermostat) |
| 135 ohm |  |
| 4-20 miliamp |  |
| 0-10 VDC |  |
| 7. Fan Relay Voltage |  |
| 24 VAC |  |
| 120 VAC |  |
| Not required if fan relay replaced by option P. |

| 8. Optional Features: |  |
| --- | --- |
| C = Corrosion Resistant Construction |
| D = Disconnect Switch |
| F = Supplementary Fusing (Required > 48A) |
| G = NEMA 4 Construction (Option D & P not available when Option G is selected) |
| K = Warning Pilot Light |
| L = Heater On Pilot Light |
| M = Back-Up Contactors |
| P = Airflow Switch (Specify positive or negative airflow) |
| Positive Airflow |
| Negative Airflow |
| R = Fan Relay when option P is also specified. |
| 9. Special Instructions or Tagging |

For Installation Operation and Maintenance instructions, click the attached link:  USDCT_IOM

425 Hanley Industrial Court ( St. Louis, MO  63144

(314) 644-4300 ( Fax: (314) 644-5332

www.indeeco.com

# Text boxes

ULTRA-SAFE DUCT HEATERS